## MAHL Analysis
Design Flow |  | MGD
Sludge Flow |  | MGD
Percent Solids |  | %
| Waste Load | Removal | Water Quality | 503 | Biosolids | Governing | Type of
| Analysis | Efficiency | Allowable | Table 3 | Allowable | MAHL | Limit
CONSTITUENT | Standard | % | AHL | Concentration | AHL
| lbs/day |  | lbs/day | PPM | lbs/day | lbs/day
AMMONIA |  |  | 0 |  | N/A | 0
ARSENIC |  |  | 0 | 41 | #DIV/0! | #DIV/0!
BOD |  |  | 0
CADMIUM |  |  | 0 | 39 | #DIV/0! | #DIV/0!
CHROMIUM |  |  | 0 |  | NA | 0
COPPER |  |  | 0 | 1500 | #DIV/0! | #DIV/0!
CYANIDE |  |  | 0
LEAD |  |  | 0 | 300 | #DIV/0! | #DIV/0!
MERCURY |  |  | 0 | 17 | #DIV/0! | #DIV/0!
MOLYBDENUM |  |  | 0 | 75 | #DIV/0! | #DIV/0!
NICKEL |  |  | 0 | 420 | #DIV/0! | #DIV/0!
SELENIUM |  |  | 0 | 100 | #DIV/0! | #DIV/0!
SILVER |  |  | 0 |  | NA | 0
TSS |  |  | 0
ZINC |  |  | 0 | 2800 | #DIV/0! | #DIV/0!