## RES-COM LOAD
Design Flow |  | MGD
Industrial Flow |  | MGD | [29 empty] | NH3
Res / Com Flow |  | MGD
[15 empty] | Cu | Cn | Pb | Hg | Mo | Ni | Se | Ag | TSS | Zn
Residential - Commercial Sampling
SAMPLE | Flow | NH3 |  | Ar |  | BOD |  | Ca |  | Ch |  | Cu |  | Cn | Cn: Pb; Hg: Hg; Ni: Mo; Ag: Ni; Zn: Se |  | Ag |  | TSS |  | Zn
| MGD | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day
AVERAGE
ST DEV
RANGE
0
0

## HAULED LOAD
DAILY TRUCKS | 1
AVG TRUCK SIZE | 3000 | gal
Hauled Flow | 0.003 | MGD | [29 empty] | NH3
[15 empty] | Cu | Cn | Pb | Hg | Mo | Ni | Se | Ag | TSS | Zn
Hauled Sampling
SAMPLE | Flow | NH3 |  | Ar |  | BOD |  | Cd |  | Ch |  | Cu |  | Cn | Cn: Pb; Hg: Hg; Ni: Mo; Ag: Ni; Zn: Se |  | Ag |  | TSS |  | Zn
| MGD | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day | mg/L | lbs/day
Literature | 0.003 | 97 | 2.4269 | 0.141 | 0.0035278 | 6480 | 162.1296 | 0.097 | 0.0024269 | 0.49 | 0.01226 | 4.84 | 0.1211 | 0.469 | 0.011734 | 1.21 | 0.030274 | 0.005 | 0.0001251 | 0.33 | 0.0082566 | 0.526 | 0.013161 | 0.49 | 0.01226 | 0.099 | 0.002477 | 12862 | 321.8072 | 9.97 | 0.24945
AVERAGE
ST DEV
RANGE
162.1296
162.1296

## MAHL Analysis
Design Flow |  | MGD
Sludge Flow |  | MGD
Percent Solids |  | %
| Waste Load | Removal | Water Quality | 503 | Biosolids | Governing | Type of
| Analysis | Efficiency | Allowable | Table 3 | Allowable | MAHL | Limit
CONSTITUENT | Standard | % | AHL | Concentration | AHL
| lbs/day |  | lbs/day | PPM | lbs/day | lbs/day
ALUMINUM |  |  | 0 |  | N/A | 0
ARSENIC |  |  | 0 | 41 | #DIV/0! | #DIV/0!
CADMIUM |  |  | 0 | 39 | #DIV/0! | #DIV/0!
CHROMIUM |  |  | 0 |  | NA | 0
COPPER |  |  | 0 | 1500 | #DIV/0! | #DIV/0!
LEAD |  |  | 0 | 300 | #DIV/0! | #DIV/0!
MERCURY |  |  | 0 | 17 | #DIV/0! | #DIV/0!
MOLYBDENUM |  |  | 0 | 75 | #DIV/0! | #DIV/0!
NICKEL |  |  | 0 | 420 | #DIV/0! | #DIV/0!
SELENIUM |  |  | 0 | 100 | #DIV/0! | #DIV/0!
SILVER |  |  | 0 |  | NA | 0
ZINC |  |  | 0 | 2800 | #DIV/0! | #DIV/0!

## MAIL Analysis
Safety Factor | 10 | %
Growth Factor | 15 | %
| Governing | Safety | Corrected | Res / Com | Hauled | Current | Growth | Corrected | Calculated
CONSTITUENT | MAHL | Factor | MAHL | Load | Load | Load | Factor | Future | MAIL
%
| lbs/day | % | lbs/day | lbs/day | lbs/day | lbs/day | % | lbs/day | lbs/day
AMMONIA | 0 | 10% | 0 | 10 | 0 | 0 | 15% | 0 | 0
ARSENIC | 0 | 10% | 0 | 0 | 0 | 0 | 15% | 0 | 0
BOD | 0 | 10% | 0 | 0 | 0 | 0 | 15% | 0 | 0
CADMIUM | 0 | 10% | 0 | 0 | 0 | 0 | 15% | 0 | 0
CHROMIUM | 0 | 10% | 0 | 0 | 0 | 0 | 15% | 0 | 0
COPPER | 0 | 10% | 0 | 0 | 0 | 0 | 15% | 0 | 0
CYANIDE | 0 | 10% | 0 | 0 | 0 | 0 | 15% | 0 | 0
LEAD | 0 | 10% | 0 | 0 | 0 | 0 | 15% | 0 | 0
MERCURY | 0 | 10% | 0 | 0 | 0 | 0 | 15% | 0 | 0
MOLYBDENUM | 0 | 10% | 0 | 0 | 0 | 0 | 15% | 0 | 0
NICKEL | 0 | 10% | 0 | 0 | 0 | 0 | 15% | 0 | 0
SELENIUM | 0 | 10% | 0 | 0 | 0 | 0 | 15% | 0 | 0
SILVER | 0 | 10% | 0 | 0 | 0 | 0 | 15% | 0 | 0
TSS | 0 | 10% | 0 | 0 | 0 | 0 | 15% | 0 | 0
ZINC | 0 | 10% | 0 | 0 | 0 | 0 | 15% | 0 | 0